Compton Polarimeter
Electron Detector
Jeff Martin
University of Winnipeg
(for Dipangkar Dutta
and the Canadian group)
http://picasaweb.google.com/ddutta07/Riyaz
Outline
Overview/Funding/Project Management
Diamond Detectors
Detector Prototyping Efforts (A. Micherdzinska)
Electronics Requirements
Mechanics

---
Motivation for Electron Detector
Position resolution gives momentum of scattered electron.
  - Independent single-arm measurement of polarization
  - Calibration of photon detector (coincidence mode)
Designing for 1% Polarization Determination for BOTH
Monte Carlo simulation
from D. Storey, hons thesis

---
Technical Overview
Diamond Detector (4 planes, with 100 strips each)
Electronics (preamp, discriminator, input module chain)
Mechanics (pipe, motion mechanism, feedthroughs)

---
Funding
What we asked for
0.5 * detectors
+ 0.5 * electronics
+ 1.0 * mechanics
0.5 * detectors
+ 0.5 * electronics
($17kUSD)
Dutta was invited to submit supplemental grant after demonstration of successful prototyping effort.
Lack of funds in Canadian means we likely need help on mechanics costs.

---
Project Status and Management
Detector prototyping efforts ongoing
  - close collaboration between MSState and UWpg groups
Electronics mock-ups at both UWpg and MSState
Monthly phone meetings with extended Canadian group (others always welcome).

---
Reports for Today
Detectors + prototyping
Electronics
Mechanics
Simulation

---
How a diamond detector works
Signal limited by impurities and grain boundaries
Increases with E-field up to ~1-2 V/m
CCD (“charge collection distance”) ~ 250 m

---
Technology Selected:  CVD Diamond Strip Detector
Why pc-CVD diamond?
Low leakage
current, shot noise
Fast signal
collection
Low capacitance,
noise
Rad hardness
Smaller
signal
sc (single crystal) diamonds are available in sizes up to 8 mm x 8 mm x 0.5 mm
pc (polycrystalline) diamonds are available in huge wafers
-- we will use a 2 cm x 2 cm x 0.5 mm square pc-CVD diamond
Strip trackers have been developed by CERN RD-42 and others using that thickness, available from Element Six (UK spin off of de Beers research)
~250
full
Charge collection distance (micron)
36
89
Av. e-h pairs per MIP per micron
13
3.6
e-h creation energy (eV)
43
13-20
Displacement energy (eV)
5.7
11.9
Dielectric Constant
2.2x107
3x105
Breakdown field (V/m)
2x107
0.8x107
Saturation velocity (cm/s)
2200/1600
1450/500
Electron/Hole mobility (cm2/Vs)
5.45
1.12
Band Gap (eV)
Diamond
Silicon

---
Recent Diamond Progress
(More in A. Micherdzinska's talk)
Coated first test diamond at NSFL (UM EE)
Visited OSU (Harris Kagan group)
  - learned diamond preparation/metallization in context of a second diamond (D. Dutta's)
  - learned multi-strip detector fabrication
  - learned test procedures
    - CCD measurement
    - I-V curve
  - Successfully fabricated our first working detector
Coated third diamond (hopefully did it right this time) at NSFL (J. Martin's)

---
Compton Electronics
from one of
our phone
meetings
July 3, 2007
Doug Storey, University of Winnipeg
Multi-
strip
detector
Discrim-
inator
I/O
module
Pre-
amp
Fast-
amp
OR
trigger
Requirements:
4*100 strips – for momentum analysis
Fast – high rates expected from Compton Scattering + background
High Amplification – small signal in diamond, ~ ½ silicon

---
Electronics
We plan to use existing Hall A VME system (Bertin, Clermont-Ferrand).
Hall A upgrade did not replace these electronics, they simply built more of them.
Discussions ongoing with Bertin. We are trying to get prototype modules.
  - could use assistance on this (TRIUMF?)
Might need to build our own preamps, due to silicon/diamond differences.
Enough alternate electronics exist at UWpg/MSState for tests
  - MESYTEC system – D. Storey, UWpg

---
UWpg MESYTEC tests (D. Storey)
Preamp Gain
  - ~7.5 times greater gain then ORTEC 109A (7.5*150mV/MeV Si equiv.)
ADC Energy Resolution
  - very similar to ORTEC,
    -  ~ 7-8 keV
  - limited by Si, or method?
Characterizing Discriminator Threshold
  - Should be able to reach low enough threshold for diamond, with these electronics
Future steps
  - Constructing test box for diamond samples.
  - Ready for multi-strip tests
  - Purchase VME input module
Cesium-137 Spectrum
624.2 keV
656.0 keV
Tests so far have been done with silicon
detector and various sources (e.g. Cs-137)

---
Mechanics
Manpower available.
Equipment costs TBD with JLab

---
Mechanics Cost Est.
(from Canadian proposal)
Item	Cost (CAD)
-----------------------------------------------------------------------
Detector Mount	$1k
Motion Mechanism and Feedthrough	$10k
Section of Beam Pipe	$7k
Detector Garage Pipe	$8k
Custom Flanges and Adapters	$8k
-----------------------------------------------------------------------
Total	$34k
based on quotes from MDC website
need to get a more realistic design (TRIUMF?)

---
Monte Carlo Electron Detector Simulation
Monte Carlo Electron Detector Simulation
D. Storey, hons thesis, and continuing work through this summer.
Asymmetry
Measuring polarization by fitting the asymmetry function to the experimental asymmetry
P1 is polarization
P2 and P3 are energy calibration parameters of strip vs. momentum

---
Monte Carlo Electron Detector Simulation
1% limit in polarization extraction using curve fitting method
should be able to measure polarization exactly with a fine enough strip pitch
Expected to go as*:
Not entirely due to beam width as predicted in thesis
*
*

---
Monte Carlo Electron Detector Simulation
1% limit due to non-linearity of strip w.r.t. backscatter photon energy, 
Suggested by the deviation in asymmetry (cf. theory) near the Compton edge
Confirmed in studies of nonlinearities in strip vs. momentum.
Need to cope with this for momentum determination at 1% level
Even understanding this, we have difficulty reproducing L'Huillier's result (dP/P~2dy/y) in our Monte Carlo
unless this is from “zero-crossing to Compton edge” integration.

---
Summary
Funding in place
Detector prototyping work has begun
  - A. Micherdzinska's talk – next
    - MSState will design proto carrier board
    - UWpg will replicate OSU metallization process
Electronics and Mechanics
  - need to get going on this.
Monte Carlo work is fairly advanced, but still some mysteries which are being uncovered – would be nice to have more detailed info from Hall A.