Focal Plane Scanner
Focal Plane Scanner
Jeff Martin
University of Winnipeg
for: Jie Pan, Peiqing Wang, Anna Micherdzinska

---
Motivation
Motivation
Q2 determination, background studies, all done at 10 nA using tracking system.
Region III operable up to 100 nA.
Qweak production running 180 A.
Need a way to extrapolate over 3 orders of magnitude.

---
Qweak Focal Plane Scanner
Qweak Focal Plane Scanner
A scanning detector with small active area to sense high-energy electrons, operable at any beam current.
Similar technique used in E158 and HAPPEx.
For E158, it was used to determine optics parameters, confirm Monte Carlo predictions of rates.

---
Scanner Principle
Scanner Principle
pre-rad
quartz
radiator
Design criteria:
1 cm2 active area.
1 MHz max rate allows operation in counting mode with two PMT’s.
operable at both high and low current.
Č
scattered
electrons
air-core
light pipe
PMT

---
Scanner Concept
Scanner Concept
scattered
electrons
beam view
side view

---
Implementation in Qweak
Č-bar
x-axis motion
2D motion assy scans behind Č-bar
Mount in any one octant at a time
Attach to fixed support structure
Motion assy mounted “inside” Č-bars
y-axis motion

---
Recent Progress on Scanner
Recent Progress on Scanner
Ongoing prototyping tests related to detector performance.
Simulation of detector performance.
Mechanical design
  - Mounting and 2D motion assy.
  - Detector assy.

---
Prototyping Tests – Cosmics Testing
Prototyping Tests – Cosmics Testing
upper trigger
test detector
lower trigger
inside Alzak tube is
a small test scint
mounted on a plunger

---
Prototyping Tests
MCA reads out shaped pulse height.
Begun work with small scintillator samples. (Plan to transition to quartz)
Begun work with high reflectivity light pipes.

---
Muon peak in 1x1x2 cm3 scintillator
In this trial, scint is 20 cm from PMT entrance window
Using MIRO2 coating (“the best”)
~180 p.e.
time to try quartz

---
New CFI Test Electronics
Multichannel HV system.
Multichannel VME ADC/TDC/Scaler
NIM bin with modules with lemo connectors on them!
Lemo cables purchased from TRIUMF
500 MHz DPO oscilloscope.
A few more modules/items to be purchased.

---
DAQ code: CAEN+MIDAS
CAEN basic code working (can talk to VME modules)
MIDAS/Roody working
Need to implement CAEN software into MIDAS then ready to go!
screenshots of MIDAS with
fake data

---
Simulation
Simulation
Based on QweakSim (K. Grimm, M. Gericke)

---
Simulation
Benchmarking against E158 succeeded.
  - Light yield and variation with parameters is quantitatively understood (relative to E158 simulations reported in their paper).
  - One bone of contention is effect of preradiator
    - not fully resolved, yet.
Now beginning to use to design our scanner.
  - E.g. study in progress:
    - light yield vs tilt angle of quartz.

---
Mechanics
Mechanics
  - support structure (P. Medeiros, G. Smith)
  - 2D motion assy.
  - detector assy. (P. Wang and G. Mollard @ UM)
Status:
  - some work in Aug.-Sept., not much since then.
  - action item: want to buy the 2D motion robot.
  - I will be at JLab next week – can we talk about it?

---
Summary and to-do list
Summary and to-do list
Ongoing light guide material tests and simulations.
  - New test electronics now available and we are in the programming stage (J. Pan).
Complete a realistic prototype rad/lightpipe/PMT assy. (J. Pan, A. Micherdzinska, J. Martin)
Mechanics
  - purchase 2D motion robot and program it. (J. Martin, A. Micherdzinska, summer students)
  - request one more meeting at JLab to confirm this big robot doesn't conflict with anything else.

---
Questions and Comments Filed Away from Last Meeting
Behind or in front of the Cherenkov bar? (multiple scattering)
  - intend to minimize impact on experiment, so behind... do we want to entertain in front? Depends on support structure.
  - Multiple scattering at 1 GeV in 1.5 cm quartz is 0.3˚ meaning 80 micron displacement over the 1.5 cm (in front vs behind). Likely not worth it unless mechanically easy.
Beware of opening angle of incident electrons +/- 11 deg.
  - Yes – the two radiators would be as close as possible in z.
Possibility of current/integrating mode for bases and electronics
  - should be straightforward.
What is goal on linearity? What is overall goal of device?
  - to be answered in full/toy Qweak simulation

---
Additional Uses of a Scanner Detector
Additional Uses
of a Scanner Detector
Scan over large fiducial region, into inelastic region, over Cherenkov bar light guides, to get additional confidence in backgrounds.
“Light map” can be compared to simulation.
Q2 extrapolation/determination
  - mini-torus setting during production running?
  - gas vs. liquid target extrapolation?
  - at least, complementary to region III.

---
Procedure
Procedure
Measure light distribution with scanner at low beam current acceptable to region III and Cherenkov bar coincidence.
Measure light distribution with scanner at 180 uA.
If they are the same, region III/Cherenkov light distribution believable at 180 uA to high confidence.
  - Note: scanner light map will not be the same as the region III/Cherenkov bar coincidence map.